{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":96,"n_cols":9,"rows_kept":96,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","ACQ-D"]
[]
[]
[]
[]
["","","","","","ACQ71DV1","ACQ100DV1","ACQ125DV1","ACQ140DV1"]
["Sound pressure level","Heating","","High","ديسيبل أمبير","","44","","47"]
["","","","Nom.","ديسيبل أمبير","","41","","44"]
["","","","Silent operation","ديسيبل أمبير","","36","","41"]
["","","","Low","ديسيبل أمبير","","38","","43"]
["","Cooling","","Silent operation","ديسيبل أمبير","","36","","41"]
["","","","Low","ديسيبل أمبير","","38","","43"]
["","","","High","ديسيبل أمبير","","44","","47"]
["","","","Nom.","ديسيبل أمبير","","41","","44"]
["Standard Accessories","دليل التركيب","","","","","دليل التركيب","","دليل التركيب"]
["","دليل التشغيل","","","","","دليل التشغيل","","دليل التشغيل"]
["","مسامير لولبية","","","","","مسامير لولبية","","مسامير لولبية"]
["","حلقة إحكام الربط","","","","","حلقة إحكام الربط","","حلقة إحكام الربط"]
["","جهاز تحكم عن بعد لاسلكي","","","","","جهاز تحكم عن بعد لاسلكي","","جهاز تحكم عن بعد لاسلكي"]
["","مشوى بغطاء مع قفل","","","","","مشوى بغطاء مع قفل","","مشوى بغطاء مع قفل"]
["","بطارية","","","","","بطارية","","بطارية"]
["أنظمة التحكم","جهاز تحكم عن بُعد سلكي","","","","","ARCWB","","ARCWB"]
["","Infrared remote control","","","","","ARCWLA","","ARCWLA"]
["Piping connections","Liquid","","القطر الخارجي","مم","","9.52","","9.52"]
["","غاز","","القطر الخارجي","مم","","15.88","","15.88"]
["","Drain","","","","","19.05","","19.05"]
["Power input","Cooling","","Nom.","كيلوواط","","0.094","","0.137"]
["","Heating","","Nom.","كيلوواط","","0.094","","0.137"]
["مستوى طاقة الصوت","التبريد","","","ديسيبل أمبير","","56","","60"]
["","التدفئة","","","ديسيبل أمبير","","56","","60"]
["Dimensions","Unit","","العرض","مم","","820","","820"]
["","","","العمق","مم","","820","","820"]
["","","","الارتفاع","مم","","300","","300"]
["الغلاف","المادة","","","","","Galvanised steel","","Galvanised steel"]
["الوزن","الوحدة","","","kg","","39","","39"]
["Fan","Air flow rate","التدفئة","High","m³/min","","29.2","","34.0"]
["","","","Low","m³/min","","21.0","","26.3"]
["","","","Nom.","m³/min","","24.4","","29.2"]
["","","التبريد","Low","m³/min","","21.0","","26.3"]
["","","","Nom.","m³/min","","24.4","","29.2"]
["","","","High","m³/min","","29.2","","34.0"]
["","","","Silent operation","m³/min","","17.6","","22.1"]
["","","التبريد","Silent operation","m³/min","","17.6","","22.1"]
["لوحة ديكور","الوزن","","","kg","","4","","4"]
["","الأبعاد","","الارتفاع","مم","","82","","82"]
["","","","العمق","مم","","990","","990"]
["","","","العرض","مم","","990","","990"]
["","اللون","","","","","أبيض","","أبيض"]
["Power supply","الطور","","","","","1~","","1~"]
["","الاسم","","","","","V1","","V1"]
["","Frequency","","","Hz","","50","","50"]
["","Voltage","","","V","","220-240","","220-240"]
["Fan","Air flow rate","التدفئة","Silent operation","m³/min","15","","22.1"]
["Power input","Heating","","Nom.","كيلوواط","0.067","","0.137"]
["","Cooling","","Nom.","كيلوواط","0.067","","0.137"]
["Fan","Air flow rate","التبريد","Silent operation","m³/min","15","","22.1"]
["الغلاف","المادة","","","","Galvanised steel","","Galvanised steel"]
["الأبعاد","الوحدة","","الارتفاع","مم","265","","300"]
["","","","العرض","مم","820","","820"]
["","","","العمق","مم","820","","820"]
["الوزن","الوحدة","","","kg","31","","39"]
["Fan","Air flow rate","التبريد","High","m³/min","24.4","","34"]
["","","","Nom.","m³/min","20.5","","29.2"]
["","","","Low","m³/min","17.6","","26.3"]
["","","التدفئة","High","m³/min","24.4","","34"]
["","","","Nom.","m³/min","20.5","","29.2"]
["","","","Low","m³/min","17.6","","26.3"]
["مستوى طاقة الصوت","التبريد","","","ديسيبل أمبير","54","","60"]
["","التدفئة","","","ديسيبل أمبير","54","","60"]
["Sound pressure level","Cooling","","High","ديسيبل أمبير","41","","47"]
["","","","Nom.","ديسيبل أمبير","38","","44"]
["","","","Low","ديسيبل أمبير","35","","43"]
["","","","Silent operation","ديسيبل أمبير","32","","41"]
["","Heating","","High","ديسيبل أمبير","41","","47"]
["","","","Nom.","ديسيبل أمبير","38","","44"]
["","","","Low","ديسيبل أمبير","35","","43"]
["","","","Silent operation","ديسيبل أمبير","32","","41"]
["وصلات الأنابيب","سائل","","القطر الخارجي","مم","9.52","","9.52"]
["","غاز","","القطر الخارجي","مم","15.88","","15.88"]
["","التصريف","","","","19.05","","19.05"]
["لوحة ديكور","الأبعاد","","الارتفاع","مم","82","","82"]
["","","","العرض","مم","990","","990"]
["","","","العمق","مم","990","","990"]
["","الوزن","","","kg","4","","4"]
["أنظمة التحكم","جهاز تحكم عن بُعد بالأشعة تحت الحمراء","","","","ARCWLA","","ARCWLA"]
["","جهاز تحكم عن بُعد سلكي","","","","ARCWB","","ARCWB"]
["Standard Accessories","Installation manual","","","","Installation manual","","Installation manual"]
["","Wireless remote control","","","","Wireless remote control","","Wireless remote control"]
["","Cover lock grill","","","","Cover lock grill","","Cover lock grill"]
["","Battery","","","","Battery","","Battery"]
["","Operation manual","","","","Operation manual","","Operation manual"]
["","Screws","","","","Screws","","Screws"]
["","Washer","","","","Washer","","Washer"]
["وحدة التزويد بالطاقة","الطور","","","","1~","","1~"]
["Power supply","Frequency","","","Hz","50","","50"]
["","Voltage","","","V","220-240","","220-240"]